## Sheet1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
BP |  |  | Y | Basement (all rooms) | 001 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Wood | NS | [15 empty] | NS as wood is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Chimney | Parging Cement | N | [6 empty] | S001 | Parging on Chimney
BP | 1S01 |  | Y | Central Stairwell (no room #) | 002 | Floor | Sheet Flooring | VSF | N | [6 empty] | S002 | Grey with blue and cream mottles | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S002 | Grey with blue and cream mottles
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 82 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 82 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 1S02 |  | Y | Stairwell | 003 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was collected but not confirmed ACM. S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2001A |  | Y | Rear Porch (no room #) | 004 | Floor | Sheet Flooring | VSF | N | [6 empty] | S004 | Light grey pebble pattern | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S004 | Light grey pebble pattern
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 82 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 82 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2000A | 2000 | Y | Office | 005 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2000 | 2000 | Y | Office | 006 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | Y | A | N | SF | 150 | - | - | S005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2C01 |  | Y | Office | 007 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | Y | A | N | SF | 150 | - | - | S006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2003 | 2003 | Y | Office | 008 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2004 | 2004 | Y | Washroom | 009 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS004 | Light grey pebble pattern | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Sheet Flooring | VSF Mastic | NS | [6 empty] | VS004 | Light grey pebble pattern | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2004 | 2004 | Y | Storage Closet | 010 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2003A & B | 2003 | Y | Office | 011 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS004 | Light grey pebble pattern | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Sheet Flooring | VSF Mastic | NS | [6 empty] | VS004 | Light grey pebble pattern | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2006-2007 | 2006 2007 | Y | Office | 012 | Floor | Sheet Flooring | VSF | N | [6 empty] | S007 | Grey stone pattern | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S007 | Grey stone pattern
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S008 | 2' x 2' pinhole fleck
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2001 | 2001 | Y | Kitchen | 013 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 300 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S013 was collected but not confirmed ACM. S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 300 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2V01 |  | Y | Main Entrance | 014 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 300 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 300 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 1000, 1001,1002 1003, 1004 |  | Y | Basement (all rooms) | 001 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Wood | Wood | NS | [15 empty] | NS as wood is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Chimney | Parging Cement | N | [6 empty] | S001 | Parging on Chimney
BP | 1S01, 2S02, 2S01 |  | Y | Stairwell | 003 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was collected but not confirmed ACM. S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2005 | 2005 | Y | Office |  | Floor | Carpet | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2002 |  | Y | Office | 007 | Floor | Wood | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 150 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was collected but not confirmed ACM. S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 150 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2007-2007A, 2006 | 2006 2007 | Y | Office | 012 | Floor | Sheet Flooring | VSF | N | [6 empty] | S007 | Grey stone pattern | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S007 | Grey stone pattern
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S008 | 2' x 2' pinhole fleck
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
BP | 2001 | 2001 | Y | Office |  | Floor | Wood | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 300 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S013 was collected but not confirmed ACM. S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 300 | - | - | VS005 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S005 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.