## Sheet1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
|  |  | Y | Solvent Storage | 001 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
|  |  | Y | Gas Storage | 002 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
|  |  | Y | Exterior | 003 | Floor |  | N/A | [15 empty] | PLEL | Not applicable
[6 empty] | Wall |  | N/A | [16 empty] | Not applicable
[6 empty] | Ceiling | Roof | Tar Mastic | N | [6 empty] | S002 | Tar Mastic on Roof Shingles
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Under Brick | Membrane | N | [6 empty] | S003 | Membrane found under brick
[6 empty] | Other | Windows | Caulking | N | [6 empty] | S001 | Caulking