## Part 1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
K | 1C02 |  | Y | Hallway | 001 | Floor | Tile | Vinyl tile | Y | A | N | Sf | 1500 | - | - | S001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | Tile only, no mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S002 | 2' x 2' pinhole fleck
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S003 | 2' x 2' pinhole fissure
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | Y | D | N | EA | 5 | - | - | S004 | Tar Mastic on pipe insulation | 10 | 0 | 0 | 0 | 0 | 0
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1005 | 1005 | Y | Storage | 002 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S005 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 4 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1007 | 1007 | Y | Janitor Closet | 003 | Floor | Sheet Flooring | Rubber | NS | [14 empty] | PLEL | NS as rubber is not suspect ACM
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
Other
K | 1009 | 1009 | Y | Office | 004 | Floor | Tile | Vinyl tile | N | [6 empty] | S006 | 12' x 12' White with brown streaks | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S006 | 12' x 12' White with brown streaks
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1009A | 1009 | Y | Office | 005 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1010 | 1010 | Y | Office | 006 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1011 | 1011 | Y | Office | 007 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S008 | DWJC
[6 empty] | Ceiling | Fixed | Stucco | N | [6 empty] | S007 | Ceiling Stucco
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
K | 1012 | 1012 | Y | Office | 008 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1013 | 1013 | Y | Office | 009 | Floor | Sheet Flooring | Rubber | NS | [14 empty] | PLEL | NS as rubber is not suspect ACM
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1008 | 1008 | Y | Office | 010 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Fixed | Stucco | NS | [6 empty] | VS007 | Ceiling Stucco | [7 empty] | NS as the material was visually the same as S007.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1014D | 1014 | Y | Office | 011 | Floor | Tile | Vinyl tile | P | A | N | SF | 200 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1014 | 1014 | Y | Office | 012 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1014B | 1014 | Y | Office | 013 | Floor | Tile | Vinyl tile | P | A | N | SF | 200 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1014E | 1014 | Y | Office | 014 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S009 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
K | 1014A | 1014 | Y | Office | 015 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1014F | 1014 | Y | Office | 016 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1014G | 1014 | Y | Office | 017 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1C01, 1V01 |  | Y | Hallway | 018 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Texture | N | [6 empty] | S010 | Texture ceiling coat
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1000 | 1000 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S011 | 2' x 2' pinhole hole
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000B | 1000 | Y | Office | 020 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually simialr to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000G | 1000 | Y | Office | 021 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually simialr to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000F | 1000 | Y | Office | 022 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually simialr to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000E | 1000 | Y | Office | 023 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually simialr to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000D | 1000 | Y | Office | 024 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually simialr to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000C | 1000 | Y | Office | 025 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS011 | 2' x 2' pinhole hole | [7 empty] | NS as the material was visually similar to S011.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 1000A | 1000 | Y | Office | 026 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material wa svisually similar to S001
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1S01 |  | Y | Stairwell | 027 | Floor |  | Clay | NS | [14 empty] | PLEL | NS a clay is not suspect ACM
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Texture | NS | [6 empty] | VS010 | Texture ceiling coat | [7 empty] | NS as the material was visually simlar to S010
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2011 | 2011 | Y | Office | 028 | Floor | Sheet Flooring | Rubber | NS | [14 empty] | PLEL | NS as rubber is not suspect ACM
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S012 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2C01 |  | Y | Hallway | 029 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2006 | 2006 | Y | Office | 030 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2004 | 2004 | Y | Office | 031 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2003 | 2003 | Y | Office | 032 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2001A | 2001 | Y | Office | 033 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2001 | 2001 | Y | Office | 034 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2000 | 2000 | Y | Office | 035 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2008, 2008B, 2008C | 2008 | Y | Office | 036 | Floor | Sheet Flooring | Rubber | NS | [14 empty] | PLEL | NS as rubber is not suspect ACM
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
K | 2008A | 2008 | Y | Office | 037 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2012 | 2012 | Y | Office | 038 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Fixed | Texture | NS | [6 empty] | VS010 | Texture ceiling coat | [7 empty] | NS as the material was visually the same as S010
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2018 | 2018 | Y | Office | 039 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2014 | 2014 | Y | Office | 040 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2017 | 2017 | Y | Office | 041 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2019 | 2019 | Y | Office | 042 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2020 | 2020 | Y | Office | 043 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2021 | 2021 | Y | Office | 044 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S006
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with brown streaks | [7 empty] | NS as the material was visually similar to S006
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
K | 2S02 |  | Y | Stairwell | 045 | Floor |  | Clay | NS | [14 empty] | PLEL | NS a clay is not suspect ACM
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Texture | NS | [6 empty] | VS010 | Texture ceiling coat | [7 empty] | NS as the material was visually simlar to S010
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2024 | 2024 | Y | Office | 046 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually simialr to S003
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 5 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2025 | 2025 | Y | Office | 047 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually simialr to S003
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 5 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2025A | 2025 | Y | Office | 048 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually simialr to S003
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 5 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2026 | 2026 | Y | Office | 049 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually simialr to S003
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 5 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2027 | 2027 | Y | Office | 050 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually simialr to S003
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 5 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2016 | 2016 | Y | Office | 051 | Floor | Tile | Vinyl tile | P | A | N | Sf | 1500 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | NS as the material was visually similar to S001. No mastic analyzed
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S013 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S002
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually simialr to S003
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 3 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F

## Part 2
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
K | 2022 | 2022 | Y | STORAGE | 001 | Floor | Tile | Vinyl tile | P | A | N | Sf | 135 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | Tile only, no mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck
[6 empty] | Wall 2 | Concrete | Concrete | NS
[6 empty] | Floor 2 | Sheet Flooring | VSF | NS | [6 empty] | VS014 | TAN
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2028 | 2028 | Y | STORAGE | 001 | Floor | Tile | Vinyl tile | P | A | N | Sf | 20 | - | - | VS001 | 12' x 12' Cream with abundant brown flecks | 3 | 0 | 0 | 0 | 0 | 0 | PLEL | Tile only, no mastic analyzed.
[6 empty] | Wall | Concrete | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck
[6 empty] | Piping | N/F
[6 empty] | OTHER | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1001, 1002 |  | Y | Washroom | 001 | Floor | Sheet Flooring | VSF | N | [6 empty] | S014 | TAN | [6 empty] | PLEL
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Wall 2 | Concrete | Concrete | NS
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1005B | 1005 | Y | MECH ROOM | 002 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NON SUSPECT ACM
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | Elbows/Fittings | Parging | N | [6 empty] | S015 | pipe elbow parging
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 2 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1005A | 1005 | Y | SERVER | 002 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NON SUSPECT ACM
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | Elbows/Fittings | Tar Mastic | P | D | N | EA | 1 | - | - | VS004 | Tar Mastic | 10 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S004
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1005C | 1005 | Y | MECH ROOM | 002 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NON SUSPECT ACM
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Wall 2 |  | Transite | Y | D | N | SF | 45 |  |  | S016 |  | 20 | 0 | 0 | 0 | 0 | 0
K | 1E01, 2E01 |  | Y |  |  | Floor | Sheet Flooring | Rubber | NS | [14 empty] | PLEL | NS as rubber is not suspect ACM
[6 empty] | Wall |  | Steel | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Steel | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 2S01, 2302 |  | Y |  |  | Floor | Tile | Clay | NS | [14 empty] | PLEL | NS as rubber is not suspect ACM
[6 empty] | Wall |  | Steel | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Steel | NS | [15 empty] | NS as a representative # od DWJC samples were collected
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
K | 1V02 |  | Y | VESTIBULE |  | Floor | Tile | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Texture | NS | [6 empty] | VS010 | Texture ceiling coat
[6 empty] | Piping | Straight | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F