## Sheet1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
CS | 1C02, 1V02 |  | Y | Corridor | 001 | Floor | Tile | Vinyl tile | N | [6 empty] | S001 | 12' x 12' Light green with abundant grey flecks | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S001 | 12' x 12' Light green with abundant grey flecks
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S002 was collected but not confirmed ACM. S006 was confirmed ACM therefore all DWJC is presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S003 | 2' x 4' pinhole fleck
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1017 | 1017 | Y | Office | 002 | Floor | Tile | Vinyl tile | N | [6 empty] | S004 | 12' x 12' White with grey flecks | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S004 | 12' x 12' White with grey flecks
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1018 | 1018 | Y | Office | 003 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1015 | 1015 | Y | Office | 004 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 |  | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1014 | 1014 | Y | Office | 005 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1013 | 1013 | Y | Office | 006 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS001 | 12' x 12' Light green with abundant grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S001
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS001 | 12' x 12' Light green with abundant grey flecks | [7 empty] | NS as the material was visually similar to s001
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1012 | 1012 | Y | Office | 007 | Floor | Tile | Vinyl tile | N | [6 empty] | S005 | 12' x 12' White with black streak | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S005 | 12' x 12' White with black streak
[6 empty] | Wall | Drywall | DWJC | Y | A | N | Sf | 200 | - | - | S006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1010 | 1010 | Y | Office | 008 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS005 | 12' x 12' White with black streak | [6 empty] | PLEL | NS as the material was bisually similar to S005
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS005 | 12' x 12' White with black streak | [7 empty] | NS as the material was visually simlar to S005
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S007 | 2' x 2' pinhole fissure
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1C01 |  | Y | Hallway | 009 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | Y | A | N | SF | 200 | - | - | S010 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS007 | 2' x 2' pinhole fissure | [7 empty] | NS as the material was visually similar to S007.
[6 empty] | Piping | Debris | Parging Cement | N | [6 empty] | S008 | Parging Cement (debris) above ceiling tiles
[6 empty] | Mechanical | N/F
[6 empty] | Other | Elbows/Fittings | Parging Cement | Y | A | N | Sf | 100 | - | - | S009 | Parging cement on elbows | 10 | 0 | 0 | 0 | 0 | 0
CS | 1008 | 1008 | Y | Office | 010 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 495 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 225 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1009 | 1009 | Y | Office | 011 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 600 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 350 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1007 | 1007 | Y | Office | 012 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 |  | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1V01 |  | Y | Corridor | 013 | Floor | Tile | Vinyl tile | N | [6 empty] | S011 | 12' x 12' Light brown with brown flecks | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S011 | 12' x 12' Light brown with brown flecks
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Light Fixture | Heat Shield | Y | D | N | EA | 1 | - | - | S012 | Incandescent Heat Shield | 60 | 0 | 0 | 0 | 0 | 0
CS | 1006 | 1006 | Y | Office | 014 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 500 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 260 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1004 | 1004 | Y | Office | 015 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1000 | 1000 | Y | Office | 016 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S014 was collected but not confirmed ACM. S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1001, 1001A | 1001 | Y | Office | 017 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS005 | 12' x 12' White with black streak | [6 empty] | PLEL | NS as the material was visually similar to S005
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS005 | 12' x 12' White with black streak | [7 empty] | NS as the material was visually similar to S005
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1002 | 1002 | N | Office | 018 | Floor | [17 empty] | PLEL
Wall
[6 empty] | Ceiling | [18 empty] | Could not access.
Piping
Mechanical
Other
CS | 1019 | 1019 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1003 | 1003 | Y | Office | 020 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1005 | 1005 | Y | Office | 021 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 200 | - | - | Vs006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1011 | 1011 | Y | Janitor's Closet | 022 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | Y | A | N | SF | 200 | - | - | S013 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | NS | [6 empty] | VS009 | Parging Cement | [7 empty] | NS as the material was visually similar to S009
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1016 | 1016 | Y | Office | 023 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1001A | 1001 | Y | Office | 017 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS005 | 12' x 12' White with black streaks | [6 empty] | PLEL | NS as the material was visually similar to S005
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS005 | 12' x 12' White with black streaks | [7 empty] | NS as the material was visually similar to S005
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | Sf | 200 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
CS | 1019A | 1019 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 10 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1019A | 1019 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 10 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1019B | 1019 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 10 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
CS | 1019C | 1019 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS004 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | P | A | N | Sf | 10 | - | - | VS006 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S006 was confirmed ACM therefore all DWJC in the building should be presumed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS003 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S003
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F