## Sheet1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
GH | 1000 | 1000 | Y | Kitchen | 001 | Floor | Sheet Flooring | VSF | N | [6 empty] | S004 | Green with white streaks | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S004 | Green with white streaks
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S001 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S002 | 2' x 4' pinhole square
[6 empty] | Ceiling | Fixed | Texture | Y | A | Y | SF | 10 | - | - | S003 | Textured Cement - 2 phases | 6 | 0 | 0 | 0 | 0 | 0 |  | texture coat was ACM, base was negative
[6 empty] | Piping | Straight Run | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1003 | 1003 | Y | Kitchen | 002 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | Y | D | Y | EA | 7 | - | 1 | S005 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1002 | 1002 | Y | Storage | 003 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS004 | Green with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Sheet Flooring | VSF Mastic | NS | [6 empty] | VS004 | Green with white streaks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | [18 empty] | No access above ceiling.
GH | 1001 | 1001 | Y | Storage | 004 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS004 | Green with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S004.
[6 empty] | Floor | Sheet Flooring | VSF Mastic | NS | [6 empty] | VS004 | Green with white streaks | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | [18 empty] | No access above ceiling.
GH | 1005 | 1005 | Y | Men's Washroom | 005 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1008 | 1008 | Y | Women's Washroom | 006 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | Straight Run | Tar Paper | N | [6 empty] | S006 | Tar Paper on pipe
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
GH | 1006 | 1006 | Y | Storage Closet | 007 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1 | 1 | Y | Office | 008 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Wood | NS | [15 empty] | NS as wood is not suspect ACM.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA | 9 | - | - | VS005 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S005.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Straight Run | Air Cell Insulation | N | [6 empty] | S007 | Air Cell - felt and paper layers
GH | 003, 003A | 3 | Y | Office | 009 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA | 3 | - | - | VS005 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S005.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Straight Run | Air Cell Insulation | NS | [6 empty] | VS007 | Air Cell | [7 empty] | NS as the material was visually smilar to S007.
GH | 2019 | 2019 | Y | Office | 010 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S008 | 2' x 2' pinhole fleck
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2020 | 2020 | Y | Office | 011 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2018 | 2018 | Y | Office | 012 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2017 | 2017 | Y | Office | 013 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2015 | 2015 | Y | Office | 014 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2014 | 2014 | Y | Office | 015 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2013 | 2013 | Y | Office | 016 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2010 | 2010 | Y | Office | 017 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2008 | 2008 | Y | Office | 018 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2009 | 2009 | Y | Office | 019 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2007 | 2007 | Y | Office | 020 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2006 | 2006 | Y | Office | 021 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2004 | 2004 | Y | Office | 022 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2003 | 2003 | Y | Office | 023 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2002 | 2002 | Y | Office | 024 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2000 | 2000 | Y | Office | 025 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2022 | 2022 | Y | Office | 026 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | Straight Run | Fiberglass | NS
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
GH | 2012 | 2012 | Y | Office | 027 | Floor | Tile | Vinyl tile | N | [6 empty] | S009 | 12' x 12' Green with light fleck | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S009 | 12' x 12' Green with light fleck
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
GH | 2C01, 2C02 |  | Y | Hallways | 028 | Floor | Tile | Vinyl tile | N | [6 empty] | S010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S010 | 12' x 12' Light green with white flecks
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S011 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 2005 | 2005 | Y | Women's Washroom | 029 | Floor | Sheet Flooring | VSF | N | [6 empty] | S012 | Blue with white streaks | [6 empty] | PLEL | No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 2011 | 2011 | Y | Washroom | 030 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 2001 | 2001 | Y | Office | 031 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 2016 | 2016 | Y | Office | 032 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 3000 | 3000 | Y | Office | 033 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3002 | 3002 | Y | Office | 034 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3003 | 3003 | Y | Office | 035 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3004 | 3004 | Y | Office | 036 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3006 | 3006 | Y | Office | 037 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3007 | 3007 | Y | Office | 038 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3008 | 3008 | Y | Office | 039 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3009 | 3009 | Y | Office | 040 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3013 | 3013 | Y | Office | 041 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3014 | 3014 | Y | Office | 042 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3015 | 3015 | Y | Office | 043 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3017 | 3017 | Y | Office | 044 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3018 | 3018 | Y | Office | 045 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3019 | 3019 | Y | Office | 046 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3020 | 3020 | Y | Office | 047 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3010 | 3010 | Y | Kitchen | 048 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | N | [6 empty] | S013 | DWJC
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 3011 | 3011 | Y | Dining Area | 049 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3012 | 3012 | Y | Office | 050 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3016 | 3016 | Y | Men's Washroom | 051 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 3005 | 3005 | Y | Women's Washroom | 052 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 3001 | 3001 | Y | Women's Showers | 053 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 3022 | 3022 | Y | Office | 054 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3C01, 3C02 |  | Y | Hallways | 055 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4002 | 4002 | Y | Office | 056 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4003 | 4003 | Y | Office | 057 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4004 | 4004 | Y | Office | 058 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4006 | 4006 | Y | Office | 059 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4007 | 4007 | Y | Office | 060 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4008 | 4008 | Y | Office | 061 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4009 | 4009 | Y | Office | 062 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4010 | 4010 | Y | Kitchen | 063 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 4011 | 4011 | Y | Office | 064 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4012 | 4012 | Y | Office | 065 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4014 | 4014 | Y | Office | 066 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4015 | 4015 | Y | Office | 067 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4017 | 4017 | Y | Office | 068 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4018 | 4018 | Y | Office | 069 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4019 | 4019 | Y | Office | 070 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4020 | 4020 | Y | Office | 071 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4022 | 4022 | Y | Office | 072 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4001 | 4001 | Y | Office | 073 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 4005 | 4005 | Y | Office | 074 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 4016 | 4016 | Y | Office | 075 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS012 | Blue with white streaks | [6 empty] | PLEL | NS as the material was visually similar to S012. No mastic analyzed.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f
GH | 4012 | 4012 | Y | Office | 076 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4S02 |  | Y | Stairweel | 078 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S014 | DWJC
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 4S01 |  | Y | Stairweel | 079 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12' x 12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
GH | 4000 | 4000 | Y | Office | 080 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Textured Cement | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1000, 1004, 1004A | 1000 | Y | Kitchen,Cafeteria, Storage | 001 | Floor | Sheet Flooring | VSF | N | [6 empty] | S004 | Green with white streaks | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S004 | Green with white streaks
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S001 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S002 | 2' x 4' pinhole square
[6 empty] | Ceiling | Fixed | Texture | Y | A | Y | SF | 10 | - | - | S003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0
[6 empty] | Piping | Straight Run | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 2S01 |  | Y | Stairwell |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [6 empty] | PLEL | NS as material is Similaar to S010
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | Texture | Y | C | Y | SF | 114 |  |  | S015 | CEILING TEXTURE | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1S01 |  | Y | Stairwell |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [6 empty] | PLEL | NS as material is Similaar to S010
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | Texture | P | C | Y | SF | 114 |  |  | VS015 | CEILING TEXTURE | 3 | 0 | 0 | 0 | 0 | 0 |  | NS as materials is similar to S015
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 3S01 |  | Y | Stairwell |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [6 empty] | PLEL | NS as material is Similaar to S010
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | Texture | P | C | Y | SF | 114 |  |  | VS015 | CEILING TEXTURE | 3 | 0 | 0 | 0 | 0 | 0 |  | NS as materials is similar to S015
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4S01 |  | Y | Stairwell |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [6 empty] | PLEL | NS as material is Similaar to S010
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | Texture | P | C | Y | SF | 114 |  |  | VS015 | CEILING TEXTURE | 3 | 0 | 0 | 0 | 0 | 0 |  | NS as materials is similar to S015
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
[6 empty] | Other | N/F
GH | 0S01 |  | Y | Stairwell |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Concrete | Concrete | NS
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 1 | 1 | Y | Office | 008 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Wood | NS | [15 empty] | NS as wood is not suspect ACM.
[6 empty] | Piping | Elbows/Fittings | Fiberglass | NS
[6 empty] | Mechanical | Tanks (2) | Mag Block | Y | D | Y | SF | 250 |  |  | S017 | MAG BLOCK - tank insulation | 20 | 0 | 0 | 5 | 0 | 0
[6 empty] | Other | Straight Run | Air Cell Insulation | N | [6 empty] | S007 | Air Cell
GH | 4 | 4 | Y | Mechanical Room | 009 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Straightss/Fittings | Parging Cement | P | D | Y | EA | 3 | - | - | VS005 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S005.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Straight Run | Air Cell Insulation | NS | [6 empty] | VS007 | Air Cell | [7 empty] | NS as the material was visually smilar to S007.
GH | 2 | 2 | Y | Elect. |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | Material not considered as asuspect ACM
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [6 empty] | - | -
GH | 2 | 2 | Y | Elect. |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | Material not considered as asuspect ACM
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Piping | NF
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 2021 | 2012 | Y | TEL BOOTH |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL
[6 empty] | Wall |  | wood | NS
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
GH | 4021 | 4021 | Y | TEL BOOTH |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | Material not considered as asuspect ACM
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
GH | 3021 | 3012 | Y | TEL BOOTH |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | Material not considered as asuspect ACM
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
GH | 1007 | 1007 | Y |  |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
GH | 1E01, 2E01, 3E01, 4E01 |  | Y | ELEVATOR SHAFT |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | Material not considered as asuspect ACM
[6 empty] | Wall |  | Steel | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Ceiling |  | Steel | NS | [15 empty] | Material not considered as asuspect ACM
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | other | N/F
GH | 3C01, 3C02, 3C03 |  | Y | Hallways | 055 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4C01, 4C02, 4C03 |  | Y | Hallways | 77 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [6 empty] | PLEL | NS as the material was visually similar to S010.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS010 | 12'x12' Light green with white flecks | [7 empty] | NS as the material was visually similar to S010.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS008 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S008
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
GH | 4014 | 4014 | Y | Office | 066 | Floor | Carpet | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS001 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Fixed | Texture | P | A | Y | SF | 100 | - | - | VS003 | Textured Cement | 6 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually siimlar to S003.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F