## Part 1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
|  |  | Y | Exterior | 001 | Floor |  | NA | [15 empty] | PLEL | Not applicable.
[6 empty] | Wall |  | Panel | N | [6 empty] | S001 | Wall Panel
[6 empty] | Ceiling | Roof | Glass | NS | [15 empty] | NS as glass is not suspect ACM
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Winow | Caulking | N | [6 empty] | S002 | Caulking
|  |  | Y | Interior | 002 | Floor |  | Gravel | NS | [14 empty] | PLEL | NS as gravel is not suspect ACM
[6 empty] | Wall |  | Panel | NS | [6 empty] | VS001 | Wall Panel | [7 empty] | NS as the material was visually similar to S001
[6 empty] | Ceiling |  | Glass | NS | [15 empty] | NS as glass is not suspect ACM
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Window | Tar Mastic | Y | A | N | LF | 8 | - | 2 | S003 | Tar Mastic | 5 | 0 | 0 | 0 | 0 | 0

## Not accessed
Rooms not accessed: