## Part 1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
MS | 1C01 |  | Y | Hallway | 001 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | Y | D | Y | EA | 2 | 2 | 1 | S001 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MS | 1003 | 1003 | Y | Office | 002 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1001 | 1001 | Y | Office | 003 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1024 | 1024 | Y | Office | 004 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1021 | 1021 | Y | Office | 005 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1022 | 1022 | Y | Office | 006 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1019 | 1019 | Y | Office | 007 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1014 | 1014 | Y | Office | 008 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1011 | 1011 | Y | Office | 009 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Trolley | Transite | NS | [15 empty] | Suspect transite, NS as no access. | Suspect transite, NS as no access.
MS | 1013 | 1013 | Y | Office | 010 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new, | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1018A | 1018 | Y | Office | 011 | Floor | Tile | Vinyl Tile | N | [6 empty] | S004 | 12' x 12' White with large grey streak | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S004 | 12' x 12' White with large grey streak
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 310 | 0 | 0 | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 310 | 0 | 0 | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA | 4 | - | - | VS001 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S001. | NS as the material was visually similar to S001.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Fume hood | Transite | Y | A | N | SF | 28 | - | - | S005 | Transite | 20 | 0 | 0 | 0 | 0 | 0
MS | 1018 | 1018 | Y | Office | 012 | Floor | Tile | Vinyl Tile | Y | A | N | SF | 140 | - | - | S002 | 12' x 12' White with black streak | 5 | 0 | 0 | 0 | 0 | 0 | PLEL | No mastic. | No mastic.
[6 empty] | Wall | Drywall | DWJC | Y | A | N | SF | 140 | - | - | S003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA | 12 | - | - | VS001 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S003. | NS as the material was visually similar to S003.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1010 | 1010 | Y | Office | 013 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | N/F | [17 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | Ductwork | Fiberglass | NS
[6 empty] | Other | N/f
MS | 1C02 |  | Y | Hallway | 014 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new. | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new. | NS as the material is new.
[6 empty] | Piping | N/F |  | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | Ductwork | Fiberglass | NS
[6 empty] | Other | N/f
MS | 1V03 |  | Y | Corridor | 015 | Floor | Tile | Vinyl Tile | N | [6 empty] | S006 | 12' x 12' White with grey flecks | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S006 | 12' x 12' White with grey flecks
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 25 | - | 3 | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S007 was collected but not confirmed ACM. S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S007 was collected but not confirmed ACM. S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 25 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Light Fixture | Incandescent heat shield | P | D | N | EA | 1 | - | - | VS008 | Incandescent heat shield | 60 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S008. | NS as the material was visually similar to S008.
MS | 1C04 |  | Y | Hallway | 016 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 382 |  |  | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S010 | 2' x 4' pinhole fleck
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA | 1 | - | - | VS001 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S001. | NS as the material was visually similar to S001.
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Other | Above ceiling | Tar Debris | N | [6 empty] | S009 | Tar pitch debris above ceiling
MS | 1103 | 1103 | Y | Office | 017 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM. | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 180 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2'x4' pinhole fleck | [7 empty] | NS as the material was visually similar to S010. | NS as the material was visually similar to S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Above ceiling | Tar Debris | NS | [6 empty] | VS009 | Tar pitch debris above ceiling | [7 empty] | NS as the material was visually similar to S009. | NS as the material was visually similar to S009.
MS | 1100 | 1100 | Y | Office | 018 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material is visually similar to S006. | NS as the material is visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 120 | - | - | VS039 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S011 was collected but not confirmed ACM. S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S011 was collected but not confirmed ACM. S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2'x4' pinhole fleck | [7 empty] | NS as the material was visually similar to S010. | NS as the material was visually similar to S010.
[6 empty] | Piping | Straight Run | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1101 | 1101 | Y | Office | 019 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material is visually similar to S006. | NS as the material is visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 40 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 40 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Light Fixture | Incandescent heat shield | P | D | N | EA | 1 | - | - | VS008 | Incandescent heat shield | 60 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually the same as S008. | NS as the material was visually the same as S008.
MS | 1102 | 1102 | Y | Office | 020 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material is visually similar to S006. | NS as the material is visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 40 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 40 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Light Fixture | Incandescent heat shield | P | D | N | EA | 1 | - | - | VS008 | Incandescent heat shield | 60 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually the same as S008. | NS as the material was visually the same as S008.
MS | 1104, 1104A | 1104 | Y | Office | 021 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM. | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 486 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 486 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA |  |  |  | VS001 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S001. | NS as the material was visually similar to S001.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MS | 1109 | 1109 | Y | Office | 022 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM. | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 550 |  |  | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 385 |  |  | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling. | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling. | No access above ceiling.
[6 empty] | Other | N/F | [17 empty] | No access above ceiling. | No access above ceiling.
MS | 1110 | 1110 | Y | Office | 023 | Floor | Sheet Flooring | VSF | N | [6 empty] | S012 | White with grey streak | [6 empty] | PLEL
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S012 | White with grey streak
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 260 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually the same as S010. | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1112A | 1112 | Y | Office | 024 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM. | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2'x4' pinhole fleck | [7 empty] | NS as the material was visually the same as S010. | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1112 | 1112 | Y | Office | 025 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM. | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2'x4' pinhole fleck | [7 empty] | NS as the material was visually the same as S010. | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1111 | 1111 | Y | Office | 026 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS039 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S013 was collected but not confirmed ACM. S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S013 was collected but not confirmed ACM. S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S014 | 2'x4' longitutdinal fissure and pinhole
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MS | 1108 | 1108 | Y | Office | 027 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS039 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2'x4' pinhole fleck | [7 empty] | NS as the material was visually similar to S010. | NS as the material was visually similar to S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS014 | 2'x4' longitudinal fissure and pinhoe | [7 empty] | NS as the material was visually similar to S014. | NS as the material was visually similar to S014.
MS | 1107 | 1107 | Y | Office | 028 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS014 | 2'x4' lonitudinal fissure and pinhole | [7 empty] | NS as the material was visually the same as S014 | NS as the material was visually the same as S014
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1106 | 1106 | Y | Office | 029 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 325 |  |  | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | [18 empty] | The ceiling has been removed. | The ceiling has been removed.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MS | 1105 | 1105 | Y | Office | 030 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 140 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | [18 empty] | The ceiling has been removed. | The ceiling has been removed.
[6 empty] | Piping | Elbows/Fittings | Parging Cement | P | D | Y | EA | - | 6 | - | VS001 | Parging Cement | 30 | 0 | 0 | 0 | 0 | 0 |  | NS as the material was visually similar to S001. | NS as the material was visually similar to S001.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1105A | 1105 | Y | Office | 031 | Floor | Tile | Vinyl Tile | P | A | N | SF | 40 | 40 | 1 | VS002 | 12' x 12' White with black streak | 5 | 0 | 0 | 0 | 0 | 0 | 0 | NS as the material was visually similar to S002. No mastic | NS as the material was visually similar to S002. No mastic
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 100 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 | 0 | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Drywall | DWJC | P | A | N | SF | 90 | - | 10 | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 | 0 | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MS | 1C04A |  | Y | Hallway | 032 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material is visually similar to S006. | NS as the material is visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | P | A | N | SF | 240 | - | - | VS003 | DWJC | 3 | 0 | 0 | 0 | 0 | 0 |  | S003 was confirmed ACM therefore all DWJC is confirmed ACM. | S003 was confirmed ACM therefore all DWJC is confirmed ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS010 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually the same as S010. | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MS | 1V04 |  | Y | Corridor | 033 | Floor | Tile | Vinyl Tile | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [6 empty] | PLEL | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS006 | 12' x 12' White with grey flecks | [7 empty] | NS as the material was visually similar to S006. | NS as the material was visually similar to S006.
[6 empty] | Wall | Drywall | DWJC | Y | A | N | SF | 25 | - | 3 | S015 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Ceiling | Drywall | DWJC | Y | A | N | SF | 25 | - | - | S016 | DWJC | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Light Fixture | Incandescent heat shield | Y | D | N | EA | 1 | - | - | S008 | Incandescent heat shield | 60 | 0 | 0 | 0 | 0 | 0
MS | 2000 | 2000 | Y | Office | 034 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM. | NS as wood is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM. | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Panel | Steel | NS | [15 empty] | NS as steel is not suspect ACM. | NS as steel is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM. | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F

## Part 2
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
MS | 1003, 1004, 1005, 1005, 1007, 1008, 1009, 1002, 1015, 1016, 1017, 1021, 1022, 1023 |  | N | Office | 002 | Floor |  |  | NS | [14 empty] | PLEL | NS as the material is new.
[6 empty] | Wall |  |  | NS | [15 empty] | NS as the material is new,
[6 empty] | Ceiling |  |  | NS | [15 empty] | NS as the material is new.
[6 empty] | Piping |  |  | NS | [15 empty] | NS as the material is new.
[6 empty] | Mechanical |  |  | NS | [15 empty] | NS as the material is new,
[6 empty] | Other |  |  | NS | [15 empty] | NS as the material is new.
MS | 1C02, 1C03 |  | Y | Hallway | 014 | Floor | [17 empty] | PLEL | NS as the material is new.
[6 empty] | Wall | [18 empty] | NS as the material is new.
[6 empty] | Ceiling | [18 empty] | NS as the material is new.
[6 empty] | Piping | N/F | [17 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | Ductwork | Fiberglass | NS
[6 empty] | Other | N/f