## Part 1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
MU | 1050 | 1050 | Y | Office | 001 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S001 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1048, 1048 A | 1048 | Y | Office | 002 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1049 | 1049 | Y | Office | 003 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
Other
MU | 1051 | 1051 | Y | Office | 004 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1052 | 1052 | Y | Women's Washroom | 005 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MU | 1V02 |  | Y | Corridor | 006 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1C04 |  | Y | Hallway | 007 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S002 | 2' x 2' flat top
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1C02 |  | Y | Hallway | 008 | Floor | Tile | Vinyl tile | N | [6 empty] | S003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S003 | 12' x 12' Orange with white fleck
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S005 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S004 | 2' x 4' pinhole
[6 empty] | Piping | Straight Run | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling |  | Texture | N | [6 empty] | S010 | Texture ceiling
MU | 1047 | 1047 | Y | Office | 009 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | Straight Run | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1037 | 1037 | Y | Office | 010 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1035 B, 1038, 1038 A, 1039 | 1035 1038 1039 | Y | Office | 011 | Floor | Tile | Vinyl tile | N | [6 empty] | S006 | 12' x 12' Cream with tan fleck | [6 empty] | PLEL | No mastic.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S007 | 2' x 4' pinhole fleck
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/f
MU | 1V03 |  | Y | Corridor | 012 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1045A, 1035A | 1035 1045 | Y | Office | 013 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1045 | 1045 | Y | Office | 014 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1032, 1032A | 1032 | Y | Office | 015 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S008 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | N | [6 empty] | S009 | Soundproofing
MU | 1033 | 1033 | Y | Office | 016 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MU | 1034, 1034G, 1034H, 1034J, 1034J, 1034K, 1034M | 1034 | Y | Office | 017 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1040 | 1040 | Y | Office | 018 | Floor | Sheet Flooring | VSF | N | [6 empty] | S011 | Beige with brown streak | [6 empty] | PLEL | No mastic.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1041 | 1041 | Y | Office | 019 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS011 | Beige with brown streak | [6 empty] | PLEL | NS as the material was visually similar to S011. No mastic.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1042 | 1042 | Y | Office | 020 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS011 | Beige with brown streak | [6 empty] | PLEL | NS as the material was visually similar to S011. No mastic.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1C01 |  | Y | Office | 021 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S013 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S012 | 2' x 2' grey bar pattern
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
MU | 1V01 |  | Y | Corridor | 022 | Floor |  | Clay | NS | [15 empty] | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | 2' x 2' grey bar pattern | [7 empty] | NS as the material was visually the same as S012.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MU | 1031 | 1031 | Y | Office | 023 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S014 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1030 | 1030 | Y | Office | 024 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1029 | 1029 | Y | Office | 025 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1028 | 1028 | Y | Office | 026 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1027 | 1027 | Y | Office | 027 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1C03 |  | Y | Hallway | 028 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material is visually similar to S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Ceiling |  | Texture | NS | [6 empty] | VS010 | Texture | [7 empty] | NS as the material was visually similar to S010.
MU | 1002 | 1002 | Y | Office | 029 | Floor | Tile | Vinyl tile | N | [6 empty] | S015 | 12' x 12' Brown with dark brown and white fleck | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S015 | 12' x 12' Brown with dark brown and white fleck
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS007 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually the same as S007.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MU | 1004 | 1004 | Y | Office | 030 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1005 | 1005 | Y | Office | 031 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S016 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1006 | 1006 | Y | Office | 032 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1007 | 1007 | Y | Office | 033 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1008 | 1008 | Y | Office | 034 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1009 | 1009 | Y | Office | 035 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1010 | 1010 | Y | Office | 036 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1011 | 1011 | Y | Office | 037 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1012 | 1012 | Y | Office | 038 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1017 | 1017 | Y | Office | 040 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1018 | 1018 | Y | Office | 041 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1019 | 1019 | Y | Office | 042 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1020 | 1020 | Y | Office | 043 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1021 | 1021 | Y | Office | 044 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1022 | 1022 | Y | Office | 045 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1023 | 1023 | Y | Office | 046 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS007 | 2' x 4' pinhole fleck | [7 empty] | NS as the material was visually similar to S007.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1036, 1036A, 1036B | 1036 | Y | Electrical Room | 047 | Piping | [17 empty] | PLEL
Wall
Ceiling
Piping
Mechanical
[6 empty] | Other | [18 empty] | No access to this room.
MU | 1034B | 1034 | Y | Office | 048 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S017 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1044A | 1044 | Y | Office | 049 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
Wall
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MU | 1044B | 1044 | Y | Office | 050 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material is visually similar to S003
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x '4 pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MU | 1044 | 1044 | Y | Office | 051 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material is visually similar to S003
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x '4 pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1046 | 1046 | Y | Office | 052 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | Grey with bar pattern | [7 empty] | NS as the material was visually the same as S012.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
MU | 1046A | 1046 | Y | Office | 053 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/f | [17 empty] | No access above ceiling.
MU | 1043 | 1043 | N | Elevator Room | 054 | Floor | [17 empty] | PLEL
Wall
Ceiling
Piping
Mechanical
[6 empty] | Other | [18 empty] | No access to this room.
MU | 1001 | 1001 | Y | Office | 055 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
MU | 1026 | 1026 | Y | Office | 056 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | N | [6 empty] | S018 | 2' x 2' pinhole fleck
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1003 | 1003 | Y | Office | 057 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Texture | NS | [6 empty] | VS010 | Texture | [7 empty] | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually the same as S009.
MU | 1013 | 1013 | Y | Office | 058 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1014 | 1014 | Y | Office | 059 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall |  | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1015 | 1015 | Y | Office | 060 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall |  | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F | [17 empty] | No access above ceiling.
MU | 1S04 |  | Y | Stairwell | 061 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | N | [6 empty] | S019 | DWJC
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Floor | Tile | Vinyl tile | NS | [6 empty] | VS015 | 12' x 12' Brown with dark brown and white fleck | [7 empty] | NS as the material was visually similar to S015.
MU | 1043F | 1043 | Y | Office | 062 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 1043 E | 1043 | Y | Office | 063 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Texture | NS | [6 empty] | VS010 | Texture | [7 empty] | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1034D | 1034 | Y | Office | 064 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Texture | NS | [6 empty] | VS010 | Texture | [7 empty] | NS as the material was visually the same as S010.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1043C | 1043 | Y | Office | 065 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS015 | 12' x 12' Brown with dark brown and white fleck | [6 empty] | PLEL | NS as the material is visually similar to S015.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS015 | 12' x 12' Brown with dark brown and white fleck | [7 empty] | NS as the material was visually similar to S015,
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1E01 |  | Y | Office | 066 | Floor | Sheet Flooring | VSF | N | [6 empty] | S020 | Dark brown streaks
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S020 | Dark brown streaks
[6 empty] | Wall |  | Steel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Ceiling |  | Glass | NS | [15 empty] | NS as glass is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MU | 1S01 |  | Y | Stairwell | 067 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
Ceiling
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1S02 |  | Y | Stairwell | 068 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | Grey with bar pattern | [7 empty] | NS as the material was visually the same as S012.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 1S03 |  | Y | Stairwell | 069 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material is visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 2C02 |  | Y | Hallway | 070 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | Elbows/Fittings | Parging | N | [6 empty] | S024 | Parging
[6 empty] | Mechanical | N/F
[6 empty] | Ceiling |  | Texture | NS | [6 empty] | VS010 | Texture | [7 empty] | NS as the material was visually similar to S010.
MU | 2000B | 2000 | Y | Office | 071 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MU | 2000A | 2000 | Y | Office | 072 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 2000 | 2000 | Y | Office | 073 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | Grey with bar pattern | [7 empty] | NS as the material was visually similar to S012.
MU | 2000D | 2000 | Y | Office | 074 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS007 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S007.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 2000C | 2000 | Y | Office | 075 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS007 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually the same as S007.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 2033 | 2033 | Y | Office | 076 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 2032, 2032A | 2032 | Y | Office | 077 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S021 | DWJC
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2`x 4`pinhole with small fissure | [7 empty] | NS as the material was visually the same as S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MU | 2030 | 2030 | Y | Office | 078 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Vinyl tile | NS | [6 empty] | VS015 | 12' x 12' Brown with dark brown and white fleck | [7 empty] | NS as the material was visually similar to S015.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS015 | 12' x 12' Brown with dark brown and white fleck | [7 empty] | NS as the material was visually similar to S015.
Wall
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2`x 4`pinhole with small fissure | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | Ductwork | Red sealant | N | [6 empty] | S023 | Red duct sealant
[6 empty] | Other | Q Deck & I Beam | Spray fireproofing | N | [6 empty] | S022 | Spray fireproofing
MU | 2030A | 2030 | N | Office | 079 | Floor | [17 empty] | PLEL
Wall
Ceiling
Piping
Mechanical
[6 empty] | Other | [18 empty] | No access to this room.
MU | 2C01 |  | Y | Hallway | 080 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | Grey bar pattern | [7 empty] | NS as the material was visually the same as S012.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS018 | 2' x 2' pinhole fleck | [7 empty] | NS as the material was visually similar to S018.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Red sealant | NS | [6 empty] | VS023 | Red duct sealant | [7 empty] | NS as the material was visually similar to S023.
[6 empty] | Other | Q Deck & I Beam | Spray fireproofing | NS | [6 empty] | VS022 | Spray fireproofing | [7 empty] | NS as the material was visually similar to S022.
MU | 2V01 |  | Y | Office | 081 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall |  | Glass | NS | [15 empty] | NS as glass is not suspect ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | Grey bar pattern | [7 empty] | NS as the material was visually similar to S012.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Q Deck & I Beam | Spray fireproofing | NS | [6 empty] | VS022 | Spray fireproofing | [7 empty] | NS as the material was visually similar to S022.
MU | 2029 | 2029 | Y | Office | 082 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS011 | Beige with brown streak | [6 empty] | PLEL | NS as the material was visually similar to S011. No mastic.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 2027 | 2027 | Y | Office | 083 | Floor | Sheet Flooring | VSF | NS | [6 empty] | VS011 | Beige with brown streak | [6 empty] | PLEL | NS as the material was visually similar to S011. No mastic.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 2025, 2025A | 2025 | Y | Office | 084 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S025 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material wasv isually similar to S009.
MU | 2034 | 2034 | Y | Office | 084 A | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as the material is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' flat top | [7 empty] | NS as the material is visually similar to S002
MU | 2035 | 2035 | Y | Office | 085 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' flat top | [7 empty] | NS as the material is visually similar to S002.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MU | 2035A | 2035 | Y | Office | 086 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' flat top | [7 empty] | NS as the material is visually similar to S002
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f | [17 empty] | Limited access above the ceiling
MU | 2035B | 2035 | Y | Office | 087 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS007 | 2' x 2' pinhole fleck | [7 empty] | NS as the material is visually similar to S007.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/F
MU | 2034A | 2034 | Y | Office | 088 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | STeel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Piping | Straight Run/Elbows | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 2024 | 2024 | Y | Office | 089 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2002 | 2002 | Y | Office | 090 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2005 | 2005 | Y | Office | 091 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2006 | 2006 | Y | Office | 092 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2007 | 2007 | Y | Office | 093 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2008 | 2008 | Y | Office | 094 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2018 | 2018 | Y | Office | 095 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2020 | 2020 | Y | Office | 096 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2010 | 2010 | Y | Office | 097 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2019 | 2019 | Y | Office | 098 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2009 | 2009 | Y | Office | 099 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2011 | 2011 | Y | Office | 100 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2018 | 2018 | Y | Office | 101 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2015 | 2015 | Y | Office | 102 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2012 | 2012 | Y | Office | 103 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2014 | 2014 | Y | Office | 104 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2013 | 2013 | Y | Office | 105 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2017, 2017A | 2017 | Y | Office | 106 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S026 | DWJC
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2004 | 2004 | Y | Office | 107 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2021 | 2021 | Y | Office | 108 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2022 | 2022 | Y | Office | 109 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2023 | 2023 | Y | Office | 110 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2003 | 2003 | Y | Office | 111 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2001 | 2001 | Y | Office | 112 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2028 | 2028 | Y | Office | 113 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2026 | 2026 | Y | Office | 114 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS004 | 2' x 4' pinhole with small fissure | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Ductwork | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Other | N/f

## Part 2
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
MU | 2004A |  | Y | Electrical Room |  | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS002 | 2' x 2' flat top
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1035 | 1035 | Y | Hallway |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS005 | DWJC | [7 empty] | NS as the material was visually similar to S005
[6 empty] | Ceiling | Drywall | DWJC | NS | [6 empty] | VS004 | DWJC | [7 empty] | NS as the material was visually similar to S004.
[6 empty] | Piping | Straight Run | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | Ceiling | Texture | NS | [6 empty] | VS010 | Texture ceiling | [7 empty] | NS as the material was visually similar to S010
MU | 1045 | 1045 | Y | Office | 013 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1034,1034A 1034G, 1034H, 1034J, 1034J, 1034K, 1034M | 1034 | Y | Office | 017 | Floor |  | Wood | NS | [14 empty] | PLEL | NS as wood is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 1043 | 1043 | N | Elevator Room | 054 | Floor | [17 empty] | PLEL
Wall
Ceiling
Piping
Mechanical
[6 empty] | Other | [18 empty] | No access to this room.
MU | 1S04, 2S04 |  | Y | Stairwell | 061 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material was visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | N | [6 empty] | S019 | DWJC
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Floor tile | Vinyl tile | NS | [6 empty] | VS015 | 12' x 12' Brown with dark brown and white fleck | [7 empty] | NS as the material was visually similar to S015.
MU | 1E01, 2E01 |  | Y | Elevator CAB and Shaft | 066 | Floor | Sheet Flooring | VSF | N | [6 empty] | S020 | Dark brown streaks
[6 empty] | Floor | Sheet Flooring | VSF Mastic | N | [6 empty] | S020 | Dark brown streaks
[6 empty] | Wall |  | Steel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Ceiling |  | Glass | NS | [15 empty] | NS as glass is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/f
MU | 1S01, 2S01 |  | Y | Stairwell | 067 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
Ceiling
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
MU | 1S02, 2S02 |  | Y | Stairwell | 068 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Acoustic tile | Lay-in T-bar | NS | [6 empty] | VS012 | Grey with bar pattern | [7 empty] | NS as the material was visually the same as S012.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 1S03, 2S03 |  | Y | Stairwell | 069 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [6 empty] | PLEL | NS as the material is visually similar to S003.
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS003 | 12' x 12' Orange with white fleck | [7 empty] | NS as the material was visually similar to S003.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | N/F
MU | 2018 | 2018 | Y | Office | 101 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.
MU | 2016 | 2016 | Y | Office | 101 | Floor |  | Carpet | NS | [14 empty] | PLEL | NS as carpet is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F | [17 empty] | No access above ceiling.
[6 empty] | Mechanical | N/F | [17 empty] | No access above ceiling.
[6 empty] | Other | Wall | Soundproofing | NS | [6 empty] | VS009 | Soundproofing | [7 empty] | NS as the material was visually similar to S009.