## Sheet1
Building | Room # | Room # (numeric) | Room Accessed (Y/N) | Location Description | PLEL Location # | System | Component | Material | ACM (Y/N/P/NS) | Access (A/B/C/D) | Friable (Y/N) | ACM Quantity/Condition |  |  |  | Sample # | Sample Description | % Chrysotile | % Crocidolite | % Tremolite | % Amosite | % Anthophylite | % Actinolite | Surveyor | Comments
[12 empty] | Unit of Measure | Condition
[13 empty] | Good | Fair | Poor
BR | 1002 | 1002 | Y | Boiler Plant | 001 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Wall | Piping | Sealant | Y | A | N | Sf | 10 | - | - | S006 | Tar sealant around cut off piping | 2 | 0 | 0 | 0 | 0 | 0
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S005 | DWJC
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Straight Run | Insulation Jacket | N | [6 empty] | S001 | Straight Insulation on heat exchange #12supply Line
[6 empty] | Piping | Elbows/Fittings | Parging Cement | Y | D | Y | EA | 20 | - | - | S002 | Parging Cement on elbows/fittings on heat exchange #12 supply Lines | 15 | 0 | 0 | 0 | 0 | 0
[6 empty] | Piping | Elbows/Fittings | Parging Cement | Y | D | Y | EA | 120 | - | - | S003 | Parging Cement on pipe elbows on Secondary loop lines | 15 | 0 | 0 | 0 | 0 | 0
[6 empty] | Piping | Elbows/Fittings | Parging Cement | Y | D | Y | EA | 12 | - | 2 | S004 | Parging Cement on Water Lines | 15 | 0 | 0 | 0 | 0 | 0
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1000C | 1000 | Y | Office | 002 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1003 | 1003 | Y | Office | 003 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Sink | Liner | N | [6 empty] | S007 | Sink Liner
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1003B | 1003 | Y | Office | 004 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1004 | 1004 | Y | Male Washroom | 005 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall |  | Clay | NS | [15 empty] | NS as clay is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1004 | 1004 | Y | Office | 006 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1S01 |  | Y | Stairwell | 007 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1001A | 1001 | Y | Office | 008 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Steel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Piping | Sink | Liner | Y | D | N | EA | 1 | - | - | S008 | Black Sink Liner | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1005 | 1005 | Y | Office | 009 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Steel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Ceiling |  | Steel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Piping | Elbows/Fittings | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1002A | 1002 | Y | Office | 010 | Floor | Tile | Vinyl tile | N | [6 empty] | S009 | 12' x 12' White with brown streaks | [6 empty] | PLEL | No mastic analyzed.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Elbows/Fittings | Fiberglass | NS | [15 empty] | NS as fiberglass is not suspect ACM.
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2007A | 2007 | Y | Office | 011 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Plaster | NS | [6 empty] | VS010 | Hard Wall Plaster
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2007B | 2007 | Y | Office | 011 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Plaster | NS | [6 empty] | VS010 | Hard Wall Plaster
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2008 | 2008 | Y | Female Washroom | 012 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall |  | Clay | NS | [15 empty] | NS as clay is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2009 | 2009 | Y | Office | 013 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2012 | 2012 | Y | Office | 014 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S011 | DWJC
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2011 | 2011 | Y | Office | 015 | Floor |  | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2006 | 2006 | Y | Office | 016 | Floor | Tile | Vinyl tile | N | [6 empty] | S013 | 12' x 12' White with thick brown streak | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | N | [6 empty] | S013 | 12' x 12' White with thick brown streak
[6 empty] | Wall | Drywall | DWJC | N | [6 empty] | S014 | DWJC
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | N | [6 empty] | S012 | 2' x 2' pinhole and small fissure
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2005A | 2005 | Y | Office | 017 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR |  |  | Y | Office | 018 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2002 | 2002 | Y | Office | 019 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS009 | 12' x 12' White with brown streaks | [6 empty] | PLEL | NS as the material was visually similar to S009. No mastic analyzed.
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2004 | 2004 | Y | Office | 020 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2003 | 2003 | Y | Office | 021 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick brown streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall |  | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1000 | 1000 | Y | Office | 002 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1002D | 1002 | Y | Mech |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Elbows/Fittings | Parging Cement | Y | D | Y | EA | 4 |  |  | VS004 | PARGING CEMENT | 15 | 0 | 0 | 0 | 0 | 0 |  | CONFIRMED ACM
[6 empty] | Other | N/F
BR | 1002E | 1002 | Y | srorage |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1V01, 2V01 |  | Y | VESTIBULE |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1004b | 1004 | Y | Office | 006 | Floor |  | Clay | NS | [14 empty] | PLEL | NS as clay is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1003F, 1003E | 1003 | Y | storage |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1003C | 1003 | Y | storage |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | Straight/Elbows | Fiberglass | NS | [15 empty] | NS as fibreglass in non suspect ACM
[6 empty] | Other | N/F
BR | 1S01, 2S02, 2S01 |  | Y | Stairwell | 007 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1001, 1001A, 1001B | 1001 | Y | Office/Elect | 008 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Steel | Steel | NS | [15 empty] | NS as steel is not suspect ACM.
[6 empty] | Piping | Sink | Liner | P | D | N | EA | 1 | - | - | VS008 | Black Sink Liner | 3 | 0 | 0 | 0 | 0 | 0
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2007 | 2007 | Y | Office | 011 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Plaster | N | [6 empty] | S010 | Hard Wall Plaster
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2007C | 2007 | Y | Office | 011 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Fixed | Plaster | NS | [6 empty] | VS010 | Hard Wall Plaster
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2009, 2009A | 2009 | Y | Office | 013 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1002C | 1002 | Y | Office | 013 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1S02, 2S03 |  | Y | Stairwell |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1000 | 1000 | Y | Office |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Straight Run/elbows | Fiberglass | NS | [15 empty] | NS as fibreglass in not suspect ACM
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 1001 | 1001 | Y | Office |  | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | Straight Run/elbows | not insulated
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2012, 2012A | 2012 | Y | Office | 014 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2011, 2011A | 2011 | Y | Office | 015 | Floor | Concrete | Concrete | NS | [14 empty] | PLEL | NS as concrete is not suspect ACM.
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS011 | DWJC | [7 empty] | NS as a representative # of DWJC samples were collected.
[6 empty] | Ceiling | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2006, 2006A, 2006B | 2006 | Y | Office | 016 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [6 empty] | PLEL
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak
[6 empty] | Wall | Drywall | DWJC | NS | [6 empty] | VS014 | DWJC
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2001 | 2001 | Y | Office | 018 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2000 | 2000 | Y | Office |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2005 | 2005 | Y | corridor |  | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F
BR | 2003, 2003A | 2003 | Y | Office | 021 | Floor | Tile | Vinyl tile | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [6 empty] | PLEL | NS as the material was visually similar to S013
[6 empty] | Floor | Tile | Tile mastic | NS | [6 empty] | VS013 | 12' x 12' White with thick browm streak | [7 empty] | NS as the material was visually similar to S013
[6 empty] | Wall | Concrete | Concrete | NS | [15 empty] | NS as concrete is not suspect ACM.
[6 empty] | Ceiling | Acoustic Tile | Lay-In T-Bar | NS | [6 empty] | VS012 | 2' x 2' pinhole and small fissure | [7 empty] | NS as the material was visually similar to S012
[6 empty] | Piping | N/F
[6 empty] | Mechanical | N/F
[6 empty] | Other | N/F